How to Export DICOM Files from Acteon

- On your desktop, right click, select New → select Folder and name the new folder with the Patient’s name.

- Use the Acteon software and open the patient history. Right click on the image of the newest CBCT. Select “Export DICOMDIR”

- Click the folder you made on your desktop with the patients name and click “Select folder” in the bottom right hand corner of the window.

- The DICOM will now begin exporting. Click “OK” once completed.

- After the DICOM has exported and saved, go to the patient’s folder on the desktop and verify the .dcm files were exported correctly. There should be several hundred files.

- Go back to your desktop, right click on the file named after the patient, click on “send to” → “Compressed (zipped) folder”

- A new folder will appear with either a zipper on it or a blue “Z”.

- Login to O-RAD website and upload the compressed (zipped) file.