How to Export DICOM Files from KaVo

- Open the selected study in Anatomage

- Go to file → Save as (not save as project)

- Choose “Invivo”

- Once selected, save the file to your desktop

- Choose “Full”

- Once the file has finished saving to your Desktop, upload the .inv from your desktop to the patient’s case on the O-RAD website.