How to Export DICOM Files from i-CAT Vision

- Anywhere on your desktop, create a new folder with the patient’s name (Right click → select New → select Folder)

- Open i-CAT vision and click on the Patient’s name.

- Directly underneath the patient name list, click on “CT”. This will bring up the reconstructed CBCT scan.

- Once the scan is loaded, go up to the tools menu. Choose “Export DICOM” → “Original study”

- A window will now appear. Select the “browse” button, this allows you to locate the folder you created with the patient’s name on your desktop. Once selected, Click “Save”

- For the export options, choose “Single file” → “Uncompressed”

- Click the “Ok” or “Export” button and the CBCT will now be exported to the file you created earlier in a single file DICOM format

- Once the export has been completed, upload the DICOM file from the file with the patients name on it to the patient’s case on the O-RAD website.