How to Export DICOM Files from Anatomage

- Create a new folder on the Desktop 
On the desktop, Right click once “New” > “Folder” and Name the folder with the patient’s Name.

- Open the scan in Anatomage

- Once scan is open, go to File > Save As

- Choose 'Multi-file DICOM with .dcm extension' and click OK

- Select the folder on the Desktop that was created with the patient's name on it as the location to save the scan

- Once the scan has finished saving, minimize or close Anatomage and compress the folder with the patient's name on it into a .zip file
(right-click the folder, go to Send to, and choose Compressed (zipped) folder

- The .zip file will be created on the Desktop (the icon will likely look like a folder with a zipper on it). Upload that file to the patient's case to O-RAD.