How to Export DICOM Files from NewTom

- Create a new folder on the Desktop 
On the desktop, Right click once “New” > “Folder” and Name the folder with the patient’s Name.

- With the scan open in the NewTom - NNT software:

- Go to the File menu and choose “Save in DICOM format”.

- Choose Sequence of Axial images.

- Choose 512x512 Matrix.

- Select the export location, select the folder on the Desktop that has the patient's name.

- Once the DICOM export has completed, compress the folder with the patient's name on the Desktop into a zip file:

- Right-click on the folder, click on send to and Select Compressed (zipped) folder.

- Upload the .zip file to the patient's case to O-RAD.