How to Export DICOM Files from Sirona

- Create a new folder on the Desktop 
On the desktop, Right click once “New” > “Folder” and Name the folder with the patient’s Name.

- Open the patient’s CBCT scan in your Sirona CBCT software.

- At the top of the screen click on the “Output” tab. Then click “Volume for third party manufacturer (DICOM)”. **Note: some versions of the Sidexis software may not have the “Volume for third party manufacturer” option. If this is the case, please select “DICOM exam report” instead.

- In the window that comes up, click the “Settings” tab at the top and uncheck everything except “Include main volume”

- Click on the “Export” tab at the top and make sure the 'Anonymization' box is not checked. Click the button with three dots on it (which is a Browse button), browse to and double-click on the folder you created on the Desktop that has the patient’s name on it, and click “Save”

- Click OK to begin the DICOM export

- After the export is complete, compress the folder on the desktop that has the patient’s name on it into a .zip file. Right-click on the folder, go to “Send to”, and choose “Compressed (zipped) folder”

- Upload the .zip file to the patient’s case to O-RAD.